Security-Constrained Unit Commitment Programming Project

May 9th, 2005

ECE 556

Power Market Operations

-Kathleen E. Williams

Abstract – This paper discusses the security-constrained unit commitment programming project guidelines, formulations, high-level and low-level programming, and procedures to complete a secure and economical system model. Low level programming was completed for the unit commitment portion. In lieu of security program, a high-level process flow will show security based constraints due to the author’s own constraints discussed in the comments section of the report.

Table of Contents

I. Introduction

A.) Problem Definition			Pages 4-7

B.) Game Plan					Pages 8-9

C.) Program Components		Pages10-12

D.) Process Flow				Pages13-14

II. Unit Commitment

- Formulation				Pages15-25

- Algorithms					Pages 26

III. Security-Constraints

- Formulation				Pages 27

- Procedures					Pages 28

IV. Commentary

A.) Conclusions					Pages 29

B.) Project Planning				Pages29-30

V. Appendix						Pages30-42

Matlab code for generating unit commitment

Introduction

Security-Constrained Unit Commitment (SCUC) consists of two components, system security and economic dispatch. The objective of the problem is focused solely on the economic dispatch of generators with bidding segments, no load costs, starting costs, and other costs incurred during operation.  Least cost is desired according to the system operators. Simple economics dictates that generators can supply (X) MW of power at location xyz and deliver the power through the transmission lines L123. However, this is not such a simple problem of who can “bid the lowest price” and win the contract in a short period of time. Location, transmission design, and the generator’s operating efficiencies are conglomerated together to form a complex set of questions that the system operators must answer using analysis before awarding contracts to independent power producers. Thus, much planning and analysis is needed to determine the minimal cost that satisfies system security.

The power market operations course, ECE 556, at the Illinois Institute of Technology has set guidelines to help make cost-effect and secure dispatch decisions for diverse system models. The final project for the course outlines a good practice problem of determining the least-cost dispatch for three generators, 5 transmission lines, phase shifters, and bidding segments. The problem definition will describe the project overview with given information and final expectations. The game plan will then be drawn to show how the author tackled the challenge. Program components are discussed to categorize the  project portions into manageable sub-programming projects. Finally the process flow shows a high-level procedure for the life of the program.

Problem Definition

The final project instructions dictated that a program be written to automatically formulate, compute, and solve the security-constrained unit commitment model.

The testing system, a 6-bus system, depicted in Figure 1, has 3 units, 5 transmission lines, and 2 phase shifting transformers. System load and reserve requirements over the 24-hour horizon are shown in Table 1. Individual unit constraints are shown in Table 2. Unit bidding information is shown in Table 3. It is assumed that bidding for all the hours are the same. Variable startup cost information is shown in Table 4. Transmission line data are shown in Table 5. Phase shifting transformer data are shown in Table 6. Load distribution factors are shown in Table 7.

The consideration of phase-shifters and variable start-up costs was optional in the final project problem definition.

Game Plan

The approach on the project should have been at least a month before the due date to allow for plenty of time to tackle bugs in the program and formulations. The author’s approach was to tackle each sub problem of the unit commitment separately and combine the constraints and objective functions together into one master matrix to be processed by the MIP program. The project began determining a cost formulation for the test case generators. It was clear that the price of the generator would influence the formulation and the programming of the objective function and constraints. Formulation was done for every test case generator and a “variable-matrix” was formed to represent all the indicator variables, continuous variables, etc that the individual price and quantities formulated. Only the first few hours were used to test the program and generate constraints like the cost function for the generators. The author learned to develop algorithms to generate common patterns for NT (number of hours) hours. The start-up and shut-down indicators were formulated for the test case generators at any hour. Sample data was manually entered into excel from the formulations for the first test case generator and for the first few hours. The author then developed, after many long hours and failed attempts, loops to generate the correct matrices for hours 1:NT. The objective matrix, f, and the constraints, A, and Ae, were then exported from MATLAB using –ascii commands and then imported into excel. The output from the program was then compared against the expected output for the first few hours. “If”-else” statements, generated in excel, highlighted the programming output cells that deviated from the expected results. If the routines worked, they were added to the master program and the additional constraints were added to the master constraint matrix in the program. This process of write formulations, manually enter in first few hours test case generator 1, develop algorithm, write code, test code, export output, and lastly compare output to formulations continued for every subcomponent of the unit commitment.

Program Components

Unit Commitment

Cost Functions

For each test generator, there are bidding prices for each segment of MW generated. Segment prices can be either non-convex or convex. The prices are used in the objective function and it is desired to minimize these costs. The constraints for the formulations are also included.

Start-up and Shut-down indicators

These indicators represent the status of the generator, whether it is starting up or shutting down. Indicators are used for NT hours (24 hours in the case) and are useful in other formulations.

Start-up and Shut-down costs

Additional costs associated with the above start-up and shut-down indicators. It is the objective to minimize these costs throughout the system and throughout NT hours.

Capacities

Each test case generator has a minimum capacity it is willing to generate as being committed and a maximum capacity. These min and max limits are formulated as constraints for each generator for NT hours.

Reserves

The 10-minute spinning reserve of a unit is the unloaded synchronized generation that can ramp up in 10 minutes. The spinning reserve of a unit cannot exceed the difference between its maximum capacity and current generation. It is also limited by the 10-minute maximum sustained rate. Operating reserve is the unloaded synchronized/unsynchronized generating capacity that can ramp up in 10 minutes. When a unit is in operation, its operating reserve is the same as spinning reserve. When a unit is down, its operating reserve is the same as its quick start capability. These limits are represented as constraints with their respective indicator variables.

Ramping Constraints

From one hour to the next, a unit cannot increase its output above a maximum

increment, which is called the ramping up limit. Similarly, a unit cannot decrease its output above a maximum decrement, which is called the ramping down limit. These limits are represented as constraints with indicator variables.

Minimum uptime/downtime constraints

Minimum up time constraint implies that a unit must stay in operation for a certain number of hours before it can be shut down; minimum down time constraint implies that a unit must remain down for a certain number of hours before it can be brought online. Indicator variables can be used to represent these limits in the constraints.

System load balance and reserve requirements

These are constraints that the generators must meet the set load D, spinning reserve requirements, and operating reserve requirements.  These constraints are also represented using indicator variables.

Variable Start-Up Costs

These costs were not considered in the project, however, they are time sensitive and depend on previous hour status.

Security

DC Power Flow

DC power flow is used a quick solution to the test case system. The bus, load, and line data is entered into the program as arrays. The impedance matrices can be determined.

Power Transfer Distribution Factors

Based on the system bus, line, and load data, PTDF’s can be formulated for each bus 1-N, N-N, and then represented as constraints using indicator variables. Line flow and phase shifter limits must also be included.

Process Flow

Flow diagrams will illustrate some high-level processes for the program. The first diagram, Figure 2, shows the game plan process for each subcomponent.

Subcomponent

Formulate for

Test Case

Enter into Excel, Determine variables

Develop Algorithm to suit test case subcomponent data

Implement into MATLAB. Export Output. Compare to Expected

Does MATLAB output match the test case expectations for 1-N test hours?

NO

Complete subcomponent. Add to master MIP program matrices.

YES

Figure 3 shows a description of the two parts of the program project. Only the unit commitment portion was completed except for the minimum uptime/down time component.

# Program Flow Diagram

## INPUTS

Generator = [price, bidding segment, MW, minimum capacity, maximum capacity, no-load cost, start-up cost, shut-down cost, minimum up time, minimum down time, ramp-up rate, ramp-down rate, MSR, QSC, Initial Status, Initial Hour, Initial MW, system load, spinning reserve, operating reserve]

Line = [from, to, r, x, flow limit]

Load = [bus, percentage of system load]

Unit Commitment

For 1:N Generators()

Costs represented in the objective function ($/MWh, start-up, shut-down, no-load)

Price variable constraints, bidding segment constraints

Minimum capacity, maximum capacities and other constant variables

Upper bounds, lower bounds, variable array (integer/continuous). Every

subcomponent for the unit commitment has the constraints represented in matrix

form for A, Ae, b, be, xint, lb,ub, and f.

Summary – When the function completes, each generator will have a MIP objective function, equality and inequality arrays, upper bounds, lower bounds, and x-array. Since the generator constants do not change for each hour, there will be only one MIP for each generator usable for hours 1:N. These will be master reference arrays for calculating other components of the program. Each subcomponent for the unit commitment is represented inside the generator function because the generator influences the unit commitment. Each subcomponent also generates its own f, A, Ae, b, be, xint, lb, ub, and f matrices. When the subcomponent procedure is complete, the results are added to the master matrices representing the unit commitment MIP.

Inputs:

(noload,startupcost,shutdowncost,price,quantity,NT,PMIN,PMAX,QSC,MSR,RU,RD,D,SR,OR)

Outputs:

(f,Aeq,beq,Aeinq,beinq,lb,ub,x)

## INPUTS

Generator = [price, bidding segment, MW, minimum capacity, maximum capacity, no-load cost, start-up cost, shut-down cost, minimum up time, minimum down time, ramp-up rate, ramp-down rate, MSR, QSC, Initial Status, Initial Hour, Initial MW, system load, spinning reserve, operating reserve]

Line = [from, to, r, x, flow limit]

Load = [bus, percentage of system load]

Security

For 1:N Buses()

Imports bus and lines data. Computes admittance matrix and calculates power transfer distribution factors. Limits on the line flows are entered as constraints along with phase shift limits.

Summary – The PTDF are calculated for N buses for K lines. The constraints hold PTDF information and flow limits

Inputs:

(line, frombus, tobus, r, x, flowlimit, pstrans, frombus, tobus, r, x , anglemax , anglemin, load, busno, percent)

Outputs:

(f,Aeq,beq,Aeinq,beinq,lb,ub,x)

II. Unit Commitment

This section of the final project for programming the SCUC will focus only on the unit commitment portion of the problem. The formulation section lists all relevant equations needed to form the unit commitment. The algorithms section discusses some techniques in generating the constraints or implementing the formulation into MATLAB. The appendix lists code referenced for unit commitment.

Formulation

Cost Functions

For a convex function the formulation is as follows:

Convex function

For a non-convex function, the formulation is as follows:

Non-convex function

Table 3 below represent the bidding segments and prices for the test case in the assignment. Table 2a represents the test case unit capacities and no-load costs.

G1 is non-convex, G2 is convex, G3 is convex

For G1 at any hour

c1,t = 200u1,t + 20px1,t,1 + 25px1,t,2  + 24px1,t,3 + 23px1,t,4

p1,t = px1,t,1 + px1,t,2 + px1,t,3 + px1,t,4

40δ1,t,1 ≤ px1,t,1 ≤ 40u1,t

60δ1,t,2 ≤ px1,t,2 ≤ 60δ1,t,2

80δ1,t,3 ≤ px1,t,3 ≤ 80δ1,t,3

0 ≤ px1,t,4 ≤ 40δ1,t,4

Objective Function Array

f =

| u1,1 | p1,1 | px1,1,1 | px1,1,2 | px1,1,3 | px1,1,4 | δ1,1 | δ1,1,1 | δ1,1,2 | δ1,1,3 | δ1,1,4 | y1,1 | z1,1 | sr1,1 | or1,1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 200 | 0 | 20 | 25 | 24 | 23 | 0 | 0 | 0 | 0 | 0 | 100 | 50 | 0 | 0 |

Constraints Matrix

|  |  | u1,1 | p1,1 | px1,1,1 | px1,1,2 | px1,1,3 | px1,1,4 | δ1,1 | δ1,1,1 | δ1,1,2 | δ1,1,3 | δ1,1,4 | y1,1 | z1,1 | sr1,1 | or1,1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | 0 | 0 | -1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | -40 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 |

Bounds Arrays

|  | u1,1 | p1,1 | px1,1,1 | px1,1,2 | px1,1,3 | px1,1,4 | δ1,1 | δ1,1,1 | δ1,1,2 | δ1,1,3 | δ1,1,4 | y1,1 | z1,1 | sr1,1 | or1,1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| lb | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| ub | 1 | inf | inf | inf | inf | inf | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| x | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |

For G2 at any hour

c2,t = 150u2,t + 24px2,t,1 + 26px2,t,2  + 28px2,t,3

p2,t = px2,t,1 + px2,t,2 + px2,t,3

0 ≤ px2,t,1 ≤ 30

0 ≤ px2,t,2 ≤ 50

0 ≤ px2,t,3 ≤ 20

objective function array

f =

|  | c1,t | u1,t | p1,t | px1,t,1 | px1,t,2 | px1,t,3 | px1,t,4 | δ1,t, | δ1,t,1 | δ1,t,2 | δ1,t,3 | δ1,t,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | -1 | 150 | 0 | 24 | 26 | 28 | - | 0 | 0 | 0 | 0 | 0 |

Constraints matrix

|  |  | c1,t | u1,t | p1,t | px1,t,1 | px1,t,2 | px1,t,3 | px1,t,4 | δ1,t, | δ1,t,1 | δ1,t,2 | δ1,t,3 | δ1,t,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | 0 | 0 | 0 | -1 | 1 | 1 | 1 | - | - | - | - | - | - |
| E | 0 | 0 | 0 | 0 | -1 | 0 | 0 | - | - | - | - | - | - |
| E | 0 | 0 | 0 | 0 | 0 | -1 | 0 | - | - | - | - | - | - |
| E | 0 | 0 | 0 | 0 | 0 | 0 | -1 | - | - | - | - | - | - |
| E | 30 | 0 | 0 | 0 | 1 | 0 | 0 | - | - | - | - | - | - |
| E | 50 | 0 | 0 | 0 | 0 | 1 | 0 | - | - | - | - | - | - |
| E | 20 | 0 | 0 | 0 | 0 | 0 | 1 | - | - | - | - | - | - |

|  |  | c1,t | u1,t | p1,t | px1,t,1 | px1,t,2 | px1,t,3 | px1,t,4 | δ1,t, | δ1,t,1 | δ1,t,2 | δ1,t,3 | δ1,t,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| lb |  | 0 | 0 | 0 | 0 | 0 | 0 | - | - | - | - | - | - |
| ub |  | Inf | 1 | inf | inf | inf | inf | - | - | - | - | - | - |
| x |  | 0 | 1 | 0 | 0 | 0 | 0 | - | - | - | - | - | - |

For G3 at any hour

c3,t = 50u3,t + 30px3,t,1 + 32px3,t,2

p3,t = px3,t,1 + px3,t,2

0 ≤ px2,t,1 ≤ 10

0 ≤ px2,t,2 ≤ 20

Start-up and shut-down indicators

For G1 at any hour

y1,t - z1,t - u1,t + u1,(t-1) = 0

y1,t + z1,t ≤ 1

For G2 at any hour

y2,t – z2,t – u2,t + u2,(t-1) = 0

y2,t + z2,t ≤ 1

For GN at any hour

yN,t – zN,t – uN,t + uN,(t-1) = 0

yN,t + zN,t ≤ 1

Example for G1 for Hours 1 through 4

objective function array

f =

|  | u1,1 | y1,1 | z1,1 | u1,2 | y1,2 | z1,2 | u1,3 | y1,3 | z1,3 | u1,4 | y1,4 | z1,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Constraints matrix

|  |  | u1,1 | y1,1 | z1,1 | u1,2 | y1,2 | z1,2 | u1,3 | y1,3 | z1,3 | u1,4 | y1,4 | z1,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | 0 | -1 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| = | 0 | 1 | 0 | 0 | -1 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 |
| = | 0 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 1 | -1 | 0 | 0 | 0 |
| = | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 1 | -1 |
| E | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |

For Hour 1

|  |  | u1,1 | p1,1 | px1,1,1 | px1,1,2 | px1,1,3 | px1,1,4 | δ1,1 | δ1,1,1 | δ1,1,2 | δ1,1,3 | δ1,1,4 | y1,1 | z1,1 | sr1,1 | or1,1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 |
| = | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| = | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| = | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

For Hour 2

|  |  | u1,2 | p1,2 | px1,1,2 | px1,1,2 | px1,1,2 | px1,1,2 | δ1,2 | δ1,1,2 | δ1,2,2 | δ1,2,3 | δ1,2,4 | y1,2 | z1,2 | sr1,2 | or1,2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| = | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 |
| = | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| = | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

For Hour 3

|  |  | u1,3 | p1,3 | px1,1,3 | px1,1,3 | px1,1,3 | px1,1,3 | δ1,3 | δ1,3,1 | δ1,3,2 | δ1,3,3 | δ1,3,4 | y1,3 | z1,3 | sr1,3 | or1,3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| = | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| = | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 |
| = | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 |
| E | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Bounds Arrays

|  |  | u1,1 | y1,1 | z1,1 | u1,2 | y1,2 | z1,2 | u1,3 | y1,3 | z1,3 | u1,4 | y1,4 | z1,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| lb |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| ub |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| x |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |

Notes: The arrays will be the same pattern for each generator but the combined array will have variables representative of each generator for each hour

For a N Generator system with NT hours, there will be (3)X(N)X(NT) variables and (2)X(N)X(NT) rows. For the test case, 3 generators and 24 hours, there will be 216 variables to represent the start-up and shut-down indicators and 144 rows with constraints.

Combined objective function

f = [G1variables Hour1 G1 variables Hour 2 …. G1 variables Hour NT G2variables Hour1 G2 variables Hour 2 …. G2 variables Hour NT …. GNvariables Hour1 GN variables Hour 2 …. GN variables Hour NT]

Similar procedure as above can be applied to combine the equality and inequality constraints and upper, lower bounds, and integer array.

Start-up and Shut-down Costs

For the test case:

For G1

f =

|  | u1,1 | y1,1 | z1,1 | u1,2 | y1,2 | z1,2 | u1,3 | y1,3 | z1,3 | u1,4 | y1,4 | z1,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | 0 | 100 | 50 | 0 | 100 | 50 | 0 | 100 | 50 | 0 | 100 | 50 |

Similar process is used for G2 and G3 variables in the objective function

Capacities

For any hour

G1:

100u1,t ≤ px1,t ≤ 220u1,t

G2

10u2,t ≤ px2,t ≤ 100u2,t

G3

10u2,t ≤ px1,t ≤ 20u2,t

For the first 4 hours for G1

Constraints matrix

|  |  | u1,1 | p1,1 | px1,1,1 | px1,1,2 | px1,1,3 | px1,1,4 | δ1,1 | δ1,1,1 | δ1,1,2 | δ1,1,3 | δ1,1,4 | y1,1 | z1,1 | sr1,1 | or1,1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 0 | -220 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 100 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

|  |  | u1,1 | px1,1 | u1,2 | px1,2 | u1,3 | px1,3 | u1,4 | px1,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| E | 0 | -220 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 100 | -1 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | -220 | 1 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 100 | -1 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | -220 | 1 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | 100 | -1 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -220 | 1 |
| E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | -1 |

|  |  | u1,1 | px1,1 | u1,2 | px1,2 | u1,3 | px1,3 | u1,4 | px1,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| lb |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| ub |  | 1 | inf | 1 | inf | 1 | inf | 1 | inf |
| x |  | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 |

Note the objective function should remain unchanged for this subpart of the MILP problem

Reserves

Spinning Reserve

Operating Reserve

For any hour the test case can be modeled as:

For G1:

p1,t + sr1,t ≤ 220

0 ≤ sr1,t, ≤ u1,t(10*2)

or1,t = sr1,t + (1 – u1,t)15

For G2:

p2,t + sr2,t ≤ 100

0 ≤ sr2,t, ≤ u2,t(10*1.5)

or2,t = sr2,t + (1 – u2,t)10

For G3:

p3,t + sr3,t ≤ 20

0 ≤ sr3,t, ≤ u3,t(10*0.5)

or3,t = sr3,t + (1 – u3,t)10

Example for G1 for Hours 1 through 3

constraints

|  |  | u1,1 | p1,1 | sr1,1 | or1,1 | u1,2 | p1,2 | sr1,2 | or1,2 | u1,3 | p1,3 | sr1,3 | or1,3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | 15 | 15 | 0 | -1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 220 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | -10*2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| = | 15 | 0 | 0 | 0 | 0 | 15 | 0 | -1 | 1 | 0 | 0 | 0 | 0 |
| E | 220 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | -10*2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 |
| = | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | -1 | 1 |
| E | 220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10*2 | 0 | 1 | 0 |
| E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 |

|  |  | u1,1 | p1,1 | px1,1,1 | px1,1,2 | px1,1,3 | px1,1,4 | δ1,1 | δ1,1,1 | δ1,1,2 | δ1,1,3 | δ1,1,4 | y1,1 | z1,1 | sr1,1 | or1,1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 0 | -220 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 100 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Ramping Constraints

For the test case

G1 at any hour

p1,t – p1,t-1 ≤ y1,t100 + (1-y1,t)40

p1,t-1 – p1,t ≤ z1,t100 + (1-z1,t)50

G2 at any hour

p2,t – p2,t-1 ≤ y2,t10 + (1-y2,t)30

p2,t-1 – p2,t ≤ z2,t10 + (1-z2,t)25

G3 at any hour

p3,t – p3,t-1 ≤ y3,t10 + (1-y3,t)20

p3,t-1 – p3,t ≤ z3,t10 + (1-z3,t)20

Example for G1 for Hours 1 through 4

constraints

|  |  | p1,1 | y1,1 | z1,1 | p1,2 | y1,2 | z1,2 | p1,3 | y1,3 | z1,3 | p1,4 | y1,4 | z1,4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| E | 40 | 1 | -(100-40) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 50 | -1 | 0 | -(100-50) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 40 | -1 | 0 | 0 | 1 | -(100-40) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 50 | 1 | 0 | 0 | -1 | 0 | -(100-50) | 0 | 0 | 0 | 0 | 0 | 0 |
| E | 40 | 0 | 0 | 0 | -1 | 0 | 0 | 1 | -(100-40) | 0 | 0 | 0 | 0 |
| E | 50 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 0 | -(100-50) | 0 | 0 | 0 |
| E | 40 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 1 | -(100-40) | 0 |
| E | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | -1 | 0 | -(100-50) |

Minimum Up/Down Time

Minimum Up Time

Minimum Down Time

System Load Balance and Reserve Requirements

Example for G1 and G2 for Hours 1 through 2

objective function

constraints

|  |  | p1,1 | sr1,1 | or1,1 | p1,2 | sr1,2 | or1,2 | p2,1 | sr2,1 | or,21 | p2,2 | sr2,2 | or2,2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| = | -D1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| = | -D2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |
| E | -SR1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 |
| E | -SR2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -1 | 0 |
| E | -OR1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 |
| E | -OR2 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -1 |

Algorithms

Determine Function Type

For 1:length(price)

Is value(price) < previous value

Yes  non-convex function

No  convex function

Start matrix, generate other hours

Many of the subcomponents of the unit commitment program had a common algorithm. First there was the constraint matrix for the first hour. Subsequent matrices were dependent upon the values from hour 1. Also, these other matrices were formed using dynamic references. For example, if the matrix from hour 4 was formed, it was based off the matrix from hour 3. The matrix from hour 2 was formed off the basis from hour 1. Thus only the first hour need be programmed well and the following hours have values that stem from the previous hour but are shifted either vertically or horizontally, but most of the time vertically in the matrix. The amount of shift is static and determined by looking at patterns for the test case matrices shown in the formulation section of the report. Once a common shift pattern is know, it is programmed and then tested.

Is this matrix coordinate within the first hour?

Yes

Is this cell coordinate (x,y) == K ?

Yes

Set Value

No

Is this cell coordinate (k,l) == M ?

Yes

Set Value

No

……………………………………

No

Set value of (x,y) to value of (x - shift,y - shift)

III. Security-Constraints

Formulation

Procedures

In lieu of not completing the program for the security portion of the programming project, process flows will illustrate a technique for completion.

Import Line Impedances

Create B, Admittance Matrix

Form the Pg-Pd + y/x matrix =  P

Solve for the angles, theta.

P = b*theta

Eliminate the reference bus values to help solve the theta values

Form Line Flows, PL(1-2) = (theta1 – theta2 – y12)/x12

For 1-N lines

Determine shift factors, add to the PTDF

Enter the equations into the constraint matrix

Enter line flow limits into the constraint matrix

Enter the phase shifter limits into the constraint matrix

Create bounds, xint

Add the A,Ae,b,be,lb,ub,xint to the unit commitment A,Ae,b,be,lb,ub,xint matrices.

Run the MIP

IV. Commentary

Conclusions

The SCUC programming project was a challenge that was not completed due to the author’s time constraints (see project planning). The unit commitment portion had each subcomponent minus the minimum uptime/downtime completed and only for non-convex generator price functions. At the end of the project deadline, the program encounter bugs for the convex price functions that were not fixed due to the deadline. The MATLAB code in the appendix will demonstrate the unit commitment functionality for a non-convex function, generator one in the test case example.

Project Planning

I would like to add some personal commentary to the project. Firstly I spent lots of hours (> 20) on the final project only to have to abruptly end . I started the final project about 2 weeks from the deadline because of having to work on coursework and homework for two classes. I had a few wrong starts in the program design. I came to a few road blocks in generating some code to loop the subcomponents. In the few days before the deadline only did I become proficient in the process of developing subcomponents for the SCUC and fully understanding the security portion with the help of the last assignment due. Other personal blocks constrained my time available for the project: working full-time, taking another course, having to move entirely to a different apartment, being sick,etc. If I could redo the project, I would have started a month before the deadline, on the unit commitment portion, even though security-based assignments was not addressed until the past few weeks. One month development time seems more feasible than two weeks project planning. But I must add, that pursing the programming project offered more of an enjoyable challenge that writing a paper. I’m still glad that I chose the programming project even though was not completed!

V. Appendix

MATLAB Code – Main Program to formulate unit commitment for a non-convex function

% Generator # 1 Information

noload = [200];

startupcost=[100];

shutdowncost=[50];

price = [20 25 24 23];

quantity = [40 60 80 40];

NT = [24];

PMIN= [100];

PMAX= [220];

QSC = [15];

MSR = [2];

RU = [40];

RD = [50];

D =  [175.19 165.15 158.67 154.73 155.06 160.48 173.39 177.6 186.81 206.96 228.61 236.1 242.18 243.6 248.86 255.79 256 246.74 245.97 237.35 237.31 232.67 195.93 195.6];

SR = [2.63 2.48	2.38 2.32 2.33 2.4 2.6 2.85 3.09 3.26 3.43 3.54	3.63 3.66 3.73 3.84	3.84 3.7 3.69 3.56 3.56	3.41 3.02 2.95];

OR = [12.26	11.56 11.1 10.83 10.85 11.23 12.14 13.33 14.39 15.2	16 16.52 16.95 17.05 17.42 17.91 17.92 17.27 17.22 16.62 16.62 15.9	14.07 13.78];

% Create objective function, constraints, bounds, based on generator values

% listed above

[f,Aeq,beq,Aeinq,beinq,lb,ub,x]=generator(noload,startupcost,shutdowncost,price,quantity,NT,PMIN,PMAX,QSC,MSR,RU,RD,D,SR,OR);

A = Aeinq;

b = beinq;

xint = x;

clear Aeinq, clear beinq, clear x;

% Call MIP solver

[x,fval,exitflag,output,lambda]=mipprog(f,A,b,Aeq,beq,lb,ub,xint);

% output results

x

% objective function value

fval

MATLAB Code – Generator function

%generator  Makes generator objective function and constraints

%

%  SYNOPSIS: [f,Aeq,beq,Aeinq,beinq,lb,ub,x]=generator(noload,startupcost,shutdowncost,price,quantity, NT)

%

%  Determines type of price function (non-convex or convex)

%  Depending on type, makes objective function, equality constraints,

%  inequality constraints, lower bounds, upper bounds, and x

%  (integer/continous) array for 1 generator given a 1XN array for the

%  price, a 1XN array for the quantity, and a 1X1 array with the noload

%  cost, startup cost, and shut down cost. Everything else is dynamically created.

%  NT is the number of hours under study, other variables are defined.

function [f,Aeq,beq,Aeinq,beinq,lb,ub,x]=generator(noload,startupcost,shutdowncost,price,quantity,NT,PMIN,PMAX,QSC,MSR,RU,RD,D,SR,OR)

%

% Determine Function Type

%

% Dummy Variables

temp = price(1);

flag1 = 0;

for i=2:length(price)

if price(i) < temp

flag1 = 1;

else

temp = price(i);

end;

end;

%

% If flag1 = 1, this is a non-convex function (the price decreases)

% If flag1 = 2, this is a convex function, the price is non-decreasing

%

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Non-Convex Function

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

if flag1 == 1

% Form non-convex functions

c = zeros(1,length(price));

for i=1:length(c)

c(i) = price(i);

end;

% generate p variables

p = zeros(1,length(price));

p(1) = 1;

for i=1:length(p)

p(i) = 1;

end;

% generate delta variables

d = zeros(1,length(price));

d(1) = 1;

for i=1:length(d)

d(i) = 1;

end;

u = zeros(1,1+length(d));

f = zeros(1,length(u));

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Objective function

f1 = [noload 0 c f startupcost shutdowncost 0 0];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

f = [];

for i=1:NT

f = [f f1];

end;

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Equality constraints

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

e = zeros(1,length(d));

e = [0 -1 p 0 e 0 0 0 0];

Aeq = [];

for i=1:NT

Aeq = [Aeq e];

end;

beq = [0];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Inequality contraints

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% this generates the constraint array

%make temp array

temp = zeros(1,length(price));

t = [-1;1];

s = [0;0];

temp2 = [];

for i=1:length(price)

for j=1:length(price)

if i == 1

if j ==1

temp2 = [t];

else

temp2 = [temp2 s];

end;

else

if j == i

temp2 =  [temp2 t];

else

temp2  = [temp2 s];

end;

end;

end;

end;

temp2;

j=1;

k = length(price);

temp3 = [];

for i=1:length(price)

temp3 = [temp3; temp2(1:2,j:k)];

j = j + length(price);

k = k + length(price);

end;

temp3;

mastermatrix = temp3;

deltamatrix = mastermatrix;

pcolumn = [zeros(1,length(mastermatrix))]';

scolumn = [zeros(1,length(mastermatrix))]';

ocolumn = [zeros(1,length(mastermatrix))]';

ycolumn = [zeros(1,length(mastermatrix))]';

zcolumn = [zeros(1,length(mastermatrix))]';

dcolumn = [zeros(1,length(mastermatrix))]';

ccolumn = [zeros(1,length(mastermatrix))]';

ucolumn = [0 -quantity(1) zeros(1,length(mastermatrix)-2)]';

% temp2(1:2,i:j)

% temp2(1:2,1:3) i                  j = length(p)

% temp2(1:2,4:6) i = i + length(p)  j = j + length(p)

% temp2(1:2,7:9) i = i + length(p)  j = j + length(p)

% add the zero column

mastermatrix = [ucolumn pcolumn mastermatrix dcolumn];

% add the delta values

for i=1:length(deltamatrix)

for j =1:length(deltamatrix)/2

deltamatrix(i,j) = 0;

end;

end;

% add delta values

for i=1:length(deltamatrix)

for j =1:length(deltamatrix)/2

if i == 1 && j == 1

deltamatrix(i,j) = quantity(1);

else

if i == length(deltamatrix) &&  j == length(deltamatrix)/2

deltamatrix(i,j) = -quantity(length(quantity));

else

if (j > 1 && j < length(deltamatrix)/2) && (i > 2 && i < length(deltamatrix)-1)

if (j*2 == i) || (j*2-1 == i)

if j*2 == i

deltamatrix(i,j) = -quantity (j);

else

deltamatrix(i,j) = quantity(j);

end;

else

deltamatrix(i,j) = 0;

end;

else

deltamatrix(i,j) = 0;

end;

end;

end;

end;

end;

mastermatrix = [mastermatrix deltamatrix ycolumn zcolumn scolumn ocolumn];

Aeinq = [];

for i=1:NT

Aeinq = [Aeinq mastermatrix];

end;

beinq = zeros(1,2*length(quantity))';

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Start-up and Shut-down Indicators

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

n = 6*length(price);

m = length(Aeinq);

%Initialize first array to zero

Aeq2 = zeros(n,m);

for j=1:m

for i=1:n

if i == 1 && j == 1

Aeq2(i,j) = -1;

Aeq2(i+1,j) = 1;

else

if ((j == 2*length(price) +4) && i == 1)

Aeq2(i,j) = 1;

Aeq2(i,j+1) = -1;

else

if (i >1 && (j > 2*length(price)+7))

Aeq2(i,j) = Aeq2(i-1,j-(2*length(price)+7));

else

end;

end;

end;

end;

end;

beq2 = zeros(1,6*length(price))';

% Add to master equality arrays

Aeq = [Aeq; Aeq2];

beq = [beq; beq2];

% Make Inequality arrays

n = 6*length(price);

m = length(Aeinq);

%Initialize first array to zero

Aeinq2 = zeros(n,m);

for j=1:m

for i=1:n

if ((j == 2*length(price)+4) && i == 1)

Aeinq2(i,j) = 1;

Aeinq2(i,j+1) = 1;

else

if (i >1 && j > (2*length(price)+7))

Aeinq2(i,j) = Aeinq2(i-1,j-(2*length(price)+7));

else

end;

end;

end;

end;

beinq2 = ones(1,6*length(price))';

% Add to master equality arrays

Aeinq = [Aeinq; Aeinq2];

beinq = [beinq; beinq2];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Capacity constraints

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

n = 2*NT;

m = length(Aeq);

%Initialize first array to zero

Aeq2 = zeros(n,m);

for j=1:m

for i=1:n

if i == 1 && j == 2

Aeq2(i,j) = PMIN;

Aeq2(i+1,j) = -PMAX;

Aeq2(i,j+1) = 1;

Aeq2(i+1,j+1) = -1;

else

if (i >2 && j > (2*length(price)+7))

Aeq2(i,j) = Aeq2(i-2,j-(2*length(price)+7));

else

end;

end;

end;

end;

beq2 = zeros(1,2*NT)';

% Add to master equality arrays

Aeq = [Aeq; Aeq2];

beq = [beq; beq2];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Reserves

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

n = NT;

m = length(Aeq);

%Initialize first array to zero

Aeq2 = zeros(n,m);

for j=1:m

for i=1:n

if i == 1 && j == 1

Aeq2(i,j) = QSC;

Aeq2(i,j+2*length(price)+5) = -1;

Aeq2(i,j+2*length(price)+6) = 1;

else

if (i >1 && j > (2*length(price)+7))

Aeq2(i,j) = Aeq2(i-1,j-(2*length(price)+7));

else

end;

end;

end;

end;

beq2 = 15*ones(1,NT)';

% Add to master equality arrays

Aeq = [Aeq; Aeq2];

beq = [beq; beq2];

n = 3*NT;

m = length(Aeinq);

%Initialize first array to zero

Aeinq2 = zeros(n,m);

for j=1:m

for i=1:n

if i == 2 && j == 1

Aeinq2(i,j) = -10*MSR;

Aeinq2(i-1,j+1) = 1;

Aeinq2(i-1,j+2*length(price)+5) =  1;

Aeinq2(i,j+2*length(price)+5) =  1;

Aeinq2(i+1,j+2*length(price)+5) =  -1;

else

if (i >3 && j > (2*length(price)+7))

Aeinq2(i,j) = Aeinq2(i-3,j-(2*length(price)+7));

else

end;

end;

end;

end;

beinq3 = [PMAX 0 0];

beinq2 = [];

for i=1:NT

beinq2 = [beinq2 beinq3];

end;

beinq2 = beinq2';

% Add to master equality arrays

Aeinq = [Aeinq; Aeinq2];

beinq = [beinq; beinq2];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Ramping constraints

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

n = 2*NT;

m = length(Aeq);

%Initialize first array to zero

Aeq2 = zeros(n,m);

for j=1:m

for i=1:n

if i == 1 && j == 2

Aeq2(i,j) = 1;

Aeq2(i+1,j) = -1;

Aeq2(i+2,j) = -1;

Aeq2(i+3,j) = 1;

Aeq2(i,j+2*length(price) + 2) = -(PMIN-RU);

Aeq2(i+1,j+2*length(price) + 3) = -(PMIN-RD);

else

if (i >2 && j > (2*length(price)+7))

Aeq2(i,j) = Aeq2(i-2,j-(2*length(price)+7));

else

end;

end;

end;

end;

beq3 = [RU RD];

beq2 = [];

for i=1:NT

beq2 = [beq2 beq3];

end;

beq2 = beq2';

% Add to master equality arrays

Aeq = [Aeq; Aeq2];

beq = [beq; beq2];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% System Load Balance and Reserve Requirements

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%%%%%%%%%%%%%%%%%%%%%%%%

% Load Balance

%%%%%%%%%%%%%%%%%%%%%%%

n = NT;

m = length(Aeq);

%Initialize first array to zero

Aeq2 = zeros(n,m);

for j=1:m

for i=1:n

if i == 1 && j == 2

Aeq2(i,j) = 1;

else

if (i >1 && j > (2*length(price)+7))

Aeq2(i,j) = Aeq2(i-1,j-(2*length(price)+7));

else

end;

end;

end;

end;

beq2 = -[D]';

% Add to master equality arrays

Aeq = [Aeq; Aeq2];

beq = [beq; beq2];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Spinning Reserve Balance

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

n = NT;

m = length(Aeinq);

%Initialize first array to zero

Aeinq2 = zeros(n,m);

for j=1:m

for i=1:n

if i == 1 && j == 14

Aeinq2(i,j) = -1;

else

if (i >1 && j > (2*length(price)+7))

Aeinq2(i,j) = Aeinq2(i-1,j-(2*length(price)+7));

else

end;

end;

end;

end;

beinq2 = -[SR]';

% Add to master equality arrays

Aeinq = [Aeinq; Aeinq2];

beinq = [beinq; beinq2];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Operating Reserve Balance

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

n = NT;

m = length(Aeinq);

%Initialize first array to zero

Aeinq2 = zeros(n,m);

for j=1:m

for i=1:n

if i == 1 && j == 15

Aeinq2(i,j) = -1;

else

if (i >1 && j > (2*length(price)+7))

Aeinq2(i,j) = Aeinq2(i-1,j-(2*length(price)+7));

else

end;

end;

end;

end;

beinq2 = -[OR]';

% Add to master equality arrays

Aeinq = [Aeinq; Aeinq2];

beinq = [beinq; beinq2];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Upper Bounds

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

ub = [];

for i=1:length(price)

ub = [ub inf];

end;

ub1 = [inf ub];

ub2 = ones(1,length(price));

ub2 = [1 ub2];

ub1 = [1 ub1 ub2 1 1 1 1];

ub = [];

for i=1:NT

ub = [ub ub1];

end;

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Lower bounds

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

lb = zeros(1,length(Aeinq));

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% xint array

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

x = [];

for i=1:length(price)

x(i) = 1;

end;

x2 = [];

for i = 1:length(price)

x2(i) = 0;

end;

x1 = [1 0 x2 1 x 1 1 1 1];

x = [];

for i=1:NT

x = [x x1];

end;

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

% Convex Function

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

else

% Form convex function

c = zeros(1,length(price));

c(1) = 0;

for i=1:length(c)

c(i) = price(i);

end;

% generate p variables

p = zeros(1,length(price));

p(1) = 1;

for i=1:length(p)

p(i) = 1;

end;

% generate delta variables

%  none needed in convex, but used for consistentcy

d = zeros(1,length(price));

u = zeros(1,1+length(d));

f = zeros(1,length(u));

%objective function

f1 = [noload 0 c f startupcost shutdowncost 0 0];

f = [];

for i=1:NT

f = [f f1];

end;

%equality constraints

e = zeros(1,length(d));

e = [0 -1 p 0 e 0 0 0 0];

Aeq = []

for i=1:NT

Aeq = [Aeq e];

end;

beq = [0];

%inequality constraints

%make temp array

temp = zeros(length(p));

for i=1:length(p)

for j=1:length(p)

if i == j

temp(i,j) = -1;

else

temp(i,j) = 0;

end;

end;

end;

temp = [temp];

temp2 = zeros(length(p));

for i=1:length(p)

for j=1:length(p)

if i == j

temp2(i,j) = 1;

else

temp2(i,j) = 0;

end;

end;

end;

temp2 = [temp2];

% This is the inequality matrix

Aeinq = [temp; temp2];

[m,n] = size(Aeinq);

mcolumn= zeros(1,m)';

e = [mcolumn mcolumn Aeinq mcolumn zeros(m,n) mcolumn mcolumn mcolumn mcolumn];

Aeinq = [];

for i=1:NT

Aeinq = [Aeinq e];

end;

% make the b equations

temp = zeros(1,length(quantity));

beinq = [temp'; quantity'];

% create upper bound

ub = [];

for i = 1:length(price)+1

ub(i) = inf;

end;

ub = [inf 1 ub];

% create lower bound

lb = zeros(1,length(Aeinq));

% create x array

x = [];

for i=1:length(price)+1

x(i) = 0;

end;

x = [0 1 x];

end;

output=[];