## Scada_Password
#SCADA StrangeLove Default/Hardcoded Passwords List #Find more at http://www.scada.sl #Please contact us at scadastrangelove@gmail.com and @scadasl #release 1.1 by Oxana Andreeva (oxana.andreeva@inbox.ru)
厂商 | 设备 | 默认用户密码 | 端口 | 设备类型 | 协议 | 数据来源
Advantech | ADAM-6200 Series | root:00000000 | 80/tcp | Intelligent Ethernet I/O Module | HTTP | http://www.bb-elec.com/Products/Manuals/ADAM-6200m-pdf.pdf
Advantech | ADAM-6050W | 0 |  | I/O module |  | http://datasheet.octopart.com/ADAM-6050W-AE-Advantech-datasheet-32780543.pdf
Advantech | ADAM-3600-A1F | Root:00000000, Admin:00000000, User:00000000 | 80/tcp | Remote I/O Module | HTTP | https://www.proxis.ua/files/documents/UM-ADAM-3600-A1F-Ed1-EN.pdf
Alcatel-Lucent | OmniSwitch 6250 | admin:switch | 80/tcp, 23/tcp | switch | HTTP, Telnet | https://dariusfreamon.wordpress.com/tag/defaults/
Allied Telesis | IE200 Series: AT-IE200-6GT, AT-IE200-6GP, AT-IE200-6FT, AT-IE200-6FP | manager:friend | terminal or terminal emulator program | Industrial Ethernet Switches |  | http://www.alliedtelesis.com/userfiles/file/IE200_InstallGuide_RevC.pdf
Alstom | KVGC202/EN/M/E11, MiCOM P141/P142/P143/P342/P343/P344/P345/P346/P391 | AAAA |  | Relays |  | https://www.gegridsolutions.com/alstomenergy/grid/Global/Grid/Resources/Documents/Automation/Technical%20manuals/KVGC202%20Manual%20GB-epslanguage=en-GB.pdf, https://www.gegridsolutions.com/AlstomEnergy/grid/TechnicalManuals/P14x/P14x_EN_T_C54.pdf
Argus | Argus Messenger | ArgusAdmin:masterkey |  | Messenger |  | https://dariusfreamon.wordpress.com/2015/07/11/argus-suite-multiple-default-credentials/
Argus | Argus Address Manager | argus:argus |  | Address Manager Software |  | https://dariusfreamon.wordpress.com/2015/07/11/argus-suite-multiple-default-credentials/
Astute Medical | ASTUTE140 Meter | 1234:1234 |  | analyzer |  | https://dariusfreamon.wordpress.com/2015/07/11/astute-medical-astute140-meter-default-user-credentials/
B&B ELECTRONICS | CR10 v2 | root:root | 80/tcp | Industrial router | http | http://tekniska.pl/downloadfile/1400014902-1208342584-pdf
B&B ELECTRONICS | Conel 4.0.1 | root:root | 80/tcp | Industrial router | http | http://conel.ru/shared/files/201502/9_411.pdf
B&B ELECTRONICS | SPECTRE Router | root:root | 80/tcp | Router | http | b&b electronics SPECTRE Router.pdf
B&B ELECTRONICS | ER75i/ER 75i DUO/ER 75i SL/ER75i v2 | root:root | 80/tcp | Industrial router | http | http://ec-mobile.ru/user_files/File/Conel/ER75i_Manual_RUS.pdf
B&B ELECTRONICS | LR77 v2 Libratum/LR77 v2 | root:root | 80/tcp | Industrial router | http | http://www.induowireless.com/wp-content/uploads/2014/12/lr77-v2-libratum-manual.pdf, http://data.kommago.nl/files/pdf/conel-lr77_v2-handleiding.pdf
B&B ELECTRONICS | UR5i v2 | root:root | 80/tcp | Industrial router | http | http://www.cd.lucom.de/vpn-industrie-router/dokumentation/handbuch/ur5iv2-guide.pdf
B&B ELECTRONICS | UCR11-v2/UCR11 v2 SL | root:root | 80/tcp | Industrial router | http | http://www.induowireless.com/wp-content/uploads/2014/03/ucr11-3g-router-hspa-cdma.pdf
B&B ELECTRONICS | XR5i v2E/XR5i v2/XR5i/XR5i SL | root:root | 80/tcp | Industrial router | http | http://www.cd.lucom.de/vpn-industrie-router/dokumentation/handbuch/xr5iv2e-guide.pdf
B&B ELECTRONICS | ES1A | root:dbps | 80/tcp | Converter | HTTP | http://www.bb-elec.com/Products/Manuals/pn-6909-rev003_ES1A-5012m.pdf
B&B ELECTRONICS | Vlinx VESR4x4 | <blank> |  | SERIAL SERVER |  | http://www.bb-elec.com/Products/Manuals/VESP211-5012m.pdf
B&B ELECTRONICS | Vlinx MESR9xx Modbus Gateway | <blank> |  | Modbus Gateway |  | https://www.manualshelf.com/manual/b-b-electronics/vlinx-mesr9xx/modbus-gateway-brochure/page-31.html
Barco | MediCal QAWeb Agent | Advanced:advanced |  | client application |  | https://dariusfreamon.wordpress.com/2015/07/10/barco-medical-qaweb-agent-default-password/
Beckhoff Automation GmbH | CX5020 | webguest:1 | 23/tcp | PLC | Telnet | https://www.researchgate.net/publication/272420507_ICSSCADA_Security_Analysis_of_a_Beckhoff_CX5020_PLC
Beckhoff Automation GmbH | TwinCAT | Administrator:1 |  | Software for the Windows control and automation technology |  | https://infosys.beckhoff.com/english.php?content=../content/1033/sw_os/html/cx1000_os_xpe_geninfo.htm&id=
Beck IPC | 營PC@CHIP | PPPSERVER:, ppps:ppps |  | PLC | pap/chap | https://www.beck-ipc.com/files/api/scxxx/config.htm
BinTec Elmeg | BinTec X1200 II | admin:bintec, |  | Router |  | http://www.router-defaults.com/Router/BinTec--x1200-ip-password-username
BinTec Elmeg | any routers | (##unknown - means not known or any char):, ##unknown:snmp-Trap , suggested:, admin:1234, admin:password, admin:admin |  | Router |  | http://www.router-defaults.com/Router/BinTec--x1200-ip-password-username
BinTec Elmeg | BinTec R230aw | admin:funkwerk |  | Router |  | http://www.tomshw.it/forum/banda-larga/154194-router-bintec.html
BinTec Elmeg | Bintec W2002T-n | admin:funkwerk, admin:admin |  | WLAN Access Point for applications in rolling stocks |  | http://www.bintec-elmeg.com/download.php?src=portal/downloadcenter/dateien/w2002tn/documentation/Notes-default-password-standard-passwort.pdf&system_id=138324
BK Ultrasound | bk3000 | administrator:superuser |  | Ultrasound System |  | https://dariusfreamon.wordpress.com/2015/07/12/bk-medical-aps-bk3000-ultrasound-system-default-credentials/
Carlo Gavazzi | PowerSoft | admin:admin, user:user |  | modular software |  | https://www.gavazzionline.com/pdf/PowerSoftIMENG.pdf
CAREL | easy/easy compact/easy split, PJ32V/PJ32W/PJ32Z | 22 (access to the parameters) |  | electronic microprocessor controllers, plug-in electronic digital thermostat |  | http://www.tempatron.co.uk/resources/product/manual_79.pdf, http://www.tempatron.co.uk/resources/product/manual_77.pdf
CAREL | pCOWeb | root:froot, carel:fcarel, guest:fguest, httpadmin:fhttpadmin (ftp), admin:fadmin (http), passwordless accounts via telnet: http::48:48:HTTP users:/usr/http/root:/bin/bash, nobody::99:99:nobody:/var/lib/nobody:/bin/bash | 21/tcp, 80/tcp | communication card | FTP, HTTP | http://www.carel.com/documents/10191/0/%2B030220471/9619472f-f1c0-4ec9-a151-120aaa5e479a?version=1.0, https://packetstormsecurity.com/files/121716/CAREL-pCOWeb-1.5.0-Default-Credential-Shell-Access.html
CAREL | ir33 platform: ir33, ir33 power, ir33 DIN, powercompact, powercompact small, mastercella | 22 (access to the parameters), 66 (download activation password) |  | integrated electronic microprocessor controllers with LED display |  | http://www.tempatron.co.uk/resources/product/manual_80.pdf
CAREL | Universal Infrared Series | 22 (enter and modify parameters C0, C13, 15 and 16 in addition to all üPü parameters), 77 (enter and modify all parameters) |  | pressure, humidity and temperature controllers |  | http://www.tempatron.co.uk/resources/product/manual_76.pdf
CAREL | IR33-DN33 Universale series | 77 (Setting type c, d, F parameters) |  | pressure, humidity and temperature controllers |  | http://www.temperature-house.com/cms-files/Carel_IR33_Manual_for_Warming_Oven.pdf
CAREL | pRack PR100 | user password: 0000, service password: 1234, manufacturer password: 1234 |  | compressor rack controller |  | http://www.carel-cz.cz/dokumentace/chlazeni/pRack/pRack_Quick%20guide.pdf
CAREL | humiSteam x-plus | 77 |  | humidifiers |  | http://www.airsystems.ro/assets/manual-humisteam-xplus--0300040en.pdf
CAREL | PlantVisorPRO Locale | admin:admin | 443/tcp | Plant supervision | HTTPS | http://www.alltyperefrigeration.com.au/logos/monitoring/quick_guide.pdf
CAREL | PlantWatchPRO | PVRemote:PD35010 (from a remote PC via a telephone connection) | 80/tcp | supervisor for small-medium installations | HTTP | http://www.carel.co.th/documents/10191/0/%2B040000021/4b549ef7-3d35-4454-bc04-91ba26aa945d?version=1.0
CAREL | 渭C2SE | Direct level: <blank>, user level: 22, super user level: 11, factory level: 66 |  | electronic controller |  | http://planetaklimata.com.ua/instr/Carel/Carel_mC2SE_User_Manual_Eng.pdf
ClimateWorx International | In-Row M52 Microprocessor | 1024 (Service level) |  | controller |  | http://www.climateworxinternational.com/pdf/manuals/In_Row_Controller_User_Guide.pdf
ClimateWorx International | M52 Microprocessor | Level 1: 1024, level 2: 4321, level 3: 1234 |  | controller |  | http://www.climateworxinternational.com/pdf/manuals/m52umCT.pdf
ClinicPro | ClinicPro EMR | admin:abc123 |  | Electronic Medical / Health Records Software |  | https://dariusfreamon.wordpress.com/2015/07/11/clinicpro-default-admin-credentials/
Compumedics | E-Series EEG, E-Series EEG/PSG, Siesta and Safiro data acquisition systems and the ProFusion EEG data acquisitionand analysis software | 0000 (security dialogue password) |  | Electroencephalograph Systems,data acquisition systems, HMI software |  | https://dariusfreamon.wordpress.com/2014/08/29/compumedics-software-default-password/
Contemporary Control Systems | BASRT-B | admin:admin | 80/tcp | Router | http | http://www.ccontrols.com/pdf/TD0712000I2.pdf
Datex-Ohmeda | S/5 Light Monitor | 16-4-34 |  | portable vital signs monitor |  | https://dariusfreamon.wordpress.com/2014/08/28/datex-ohmeda-s5-light-monitor-default-installservice-menu-password/
Datasensor | UR5i/UR5i SL | root:root | 80/tcp | Router | http | http://datasensor.de/sites/datasensor.de/files/datasheets/UR5i_m_e.pdf
Deif | AWC 500 | root:deif7800 (administrator), default:1234 (user) |  | Advanced Wind turbine Controller |  | http://www.deifwindpower.com/Files/Files/Documentation/Products/AWC-500/4189340733_AWC_500_Getting_started.pdf
Digi | DC-ME-01T-S | root:dbps |  | Networking Modules | http | http://www.digi.com/support/forum/13553/digi-connect-me-default-password
Digi | Digi Connect SP,Digi Connect Wi-SP,Digi Connect ME,Digi Connect ME 4 MB,Digi Connect Wi-ME,Digi Connect EM,Digi Connect Wi-EM | root:dbps | 80/tcp | Network Device Server Module | http | http://ftp1.digi.com/support/documentation/90000565_P1.pdf
Digi | Digi Connect ES 4/8 SB with Switch, Digi Connect ES 4/8 SB | root:dbps | 80/tcp | Concentrator | http | http://ftp1.digi.com/support/documentation/90000565_P1.pdf
Digi | ConnectPort TS 4x4, ConnectPort TS 4x2, ConnectPort TS W, ConnectPort TS 8, ConnectPort TS 8 MEI, ConnectPort TS 16 | root:dbps | 80/tcp | Terminal Server | http | http://ftp1.digi.com/support/documentation/90000565_P1.pdf
Digi | Digi Connect WAN, Digi Connect WAN GPRS, Digi Connect WAN GSM-R, Digi Connect WAN VPN, Digi Connect WAN IA, Digi Connect WAN 3G, Digi Connect WAN 3G IA, Digi Connect WAN 4G | root:dbps | 80/tcp | Industrial router | http | http://www.acspl.com.au/Manuals/digi_Wan.pdf
Digi | Digi TransPort WR21/WR44 | username:password | 80/tcp | Industrial router | http | http://ftp1.digi.com/support/documentation/transport/assets/guides/IG_Digi_WR21.pdf
Digi | Digi CM | root:dbps | console port (9600, 8, N, 1) | Industrial router |  | http://ftp1.digi.com/support/documentation/90000300_E.pdf
Digi | DigiOne IAP Serial | root:dbps | 80/tcp | Gateway | http | http://web-material3.yokogawa.com/IMMW100EIP.pdf
Echelon | i.LON SmartServer | for ftp and lns servers: ilon:ilon |  | Programmable Modules | ftp, L2TP | http://www.unicom-bg.com/pdf/systemintegration/iLONproducts/i.LON_SmartServer_Freely_Programmable_Modules_User_Guide.pdf
Echelon | i.LON SmartServer, i.LON SmartServer 2.0, i.LON 600, i.LON 100e4 | ilon:ilon | 80/tcp | Building Energy Management Solution, LonWorks/IP Server, Internet Server | HTTP | https://dariusfreamon.wordpress.com/2013/05/10/echelon-i-lon-defaults/
Echelon | LumInsight | Echelon:echeloncorp |  | Central Management System |  | http://www.echelon.com/assets/blt3db1ad5ba909f610/LumInsight%20CMS%20Installation%20Guide_078-1059-01C.pdf
Electro Industries/GaugeTech | Nexus 1500+, Nexus 1500 | anonymous:anonymous | 80/tcp | Power Quality Meter | HTTP | http://www.electroind.com/products/Nexus_1500+/pdf/manuals/Nexus%201500+%20Power%20Quality%20Meter%20User%20Manual%20V.1.01_E154713.pdf, http://www.electroind.com/products/Nexus_1500/pdf/manuals/Nexus%201500%20Transient%20Recording%20Power%20Quality%20Revenue%20Meter%20User%20Manual%20V.1.12_E154701.pdf
Electro Industries/GaugeTech | Communicator EXT 3.0 | eignet:inp100 | 80/tcp | Power Monitoring Software | HTTP | http://www.electroind.com/pdf/11_13_12_pdf/E107707_ComEXT_Manual.pdf
Emerson | AMS Suit | admin:<blank>, sa:42Emerson42Eme (SQL Server) |  | diagnostic software |  | http://www2.emersonprocess.com/siteadmincenter/PM%20Asset%20Optimization%20Documents/ProductReferenceAndGuides/amsdm_ru_quickinstallv12.pdf, http://www2.emersonprocess.com/siteadmincenter/PM%20Asset%20Optimization%20Documents/ProductReferenceAndGuides/amsdm_ru_installguide13.pdf
Emerson | DeltaV Digital Automation System | Administrator:deltav |  | Automation System |  | http://www.chem.mtu.edu/chem_eng/current/new_courses/CM4120/2009/Getting%20Started.pdf
Emerson | Liebert IntelliSlot Web Card | Liebert:Liebert, User:User | 23/tcp | Web Card | telnet | http://www.emersonnetworkpower.com/documentation/en-us/products/monitoring/documents/sl-52615.pdf
Emerson | Liebert OpenComms Web Card | Liebert:Liebert | 80/tcp | Web Card | HTTP | http://www.emersonnetworkpower.com/documentation/en-us/products/monitoring/documents/sl-52610.pdf
Emerson | Smart Wireless Gateway 1420 | admin:default, maint:default, oper:default, exec:default | 80/tcp | Wireless Gateway | http | http://www2.emersonprocess.com/siteadmincenter/PM%20Rosemount%20Documents/00809-0200-4420.pdf
Emerson | Smart Wireless Navigator | for the Windows log in Administrator:navigator, for Smart Wireless Navigator log in Supervisor:Admin, User1:Password1, User2:Password2, User3:Password3 |  | stand-alone network infrastructure management tool |  | http://www2.emersonprocess.com/siteadmincenter/pm%20rosemount%20documents/00809-0100-4423.pdf
Emerson | Network Power MPH2 Rack PDU | admin:admin | 80/tcp | Rack PDUs | http | https://community.emerson.com/networkpower/support/avocent/power/mph2/m/mediagallery/3093
Emerson | UL33 UPS | 123456 |  | UPS | Serial | http://www.emersonnetworkpower-partner.com/ArticleDocuments/4091/UL33%20User%20Manual%20Communication.doc.aspx
Emerson | Control Link Refrigeration System Controller | 0 |  | Controller |  | http://foodservice.structuralconcepts.com/media/com_sccmanager/temp-controller-info/emerson-control-link-cpc-controller.pdf
Emerson | UltraSite | User 01:100, User 05:200, User 09:300, Engineer:400 |  | Software |  | http://www.emersonclimate.com/Documents/Retail%20Solutions/Manuals/0261004Rev1.pdf
Emerson | Avocent ACS 6000 Advanced Console Server | admin:avocent, root:linux |  | Console Server | console port, with Telnet, SSH | http://pcs.mktg.avocent.com/@@content/manual/590767501h.pdf
Emerson | ROCLINK 800 | LOI:1000 |  | Software | Console | http://www.documentation.emersonprocess.com/groups/public/documents/instruction_manuals/d301159x012.pdf
Emerson | ControlWave Micro Quick | for download project:, SYSTEM:666666 |  | PLC |  | http://www.documentation.emersonprocess.com/groups/public/documents/users_guide/d301425x012.pdf
Emerson | IP-KVM Avocent MergePoint Unity | Admin:blank |  | Switch | local, HTTP | http://community.emerson.com/networkpower/support/avocent/kvmip/mpunity/w/wiki-mergepoint-unity/363.default-user-name-and-password-for-the-mergepoint-unity-kvm-over-ip-appliance
Emerson | Ovation DCS | wdpf |  | Switch for Distributed Control System | Telnet | https://supportforums.cisco.com/sites/default/files/legacy/0/3/9/11930-cs2.txt
Emerson | Ovation DCS | SNMP community string: wdpfRO |  | Switch for Distributed Control System | SNMP | https://supportforums.cisco.com/sites/default/files/legacy/0/3/9/11930-cs2.txt
Endress+Hauser | Fieldgate FXA520 | super:super | 80/tcp | Gateway for remote monitoring and diagnosis | HTTP | https://portal.endress.com/wa001/dla/5000241/6638/000/03/BA00051SEN_1514.pdf
Endress+Hauser | Fieldgate Viewer | admin:0000 |  | HMI software |  | https://dariusfreamon.wordpress.com/2013/10/15/endresshauser-fieldgate-viewer-default-credentials/
ENTES | EMG-10, EMG-02 , EMG-12 | emg12 (for EMG12), emg10 (for EMG10), emg02 (for EMG02) | 80/tcp | MODBUS Gateway | http | http://www.entes.com.tr/dosyalar/EMG_Series_EN-ver_2_2.pdf
ENTES | DTR-10, MCB-125/126 | 0 |  | time relay |  | http://www.entes.com.tr/dosyalar/DTR-10%20EN%20A5299%20R2.pdf, http://www.entes.com.tr/dosyalar/mcb-125-126%20EN_.pdf
ENTES | MPR-53CS | 0 |  | network analyzer |  | http://www.entes.com.tr/dosyalar/MPR_53CS_ing_A4396_R2%20.pdf
ENTES | GEM-05/GEM-10/10SH | gem10 | 80/tcp | GPRS/Modbus Gateway | HTTP | http://www.produktinfo.conrad.com/datenblaetter/125000-149999/128714-an-01-en-ENTES_EPM_04C_DIN_DIGITALMULTIMETER.pdf
ENTES | ENTBUS PLUS | admin:1234 |  | Energy Management Software |  | http://www.entes.com.tr/dosyalar/ENTBUS%20Plus_Client_EN.pdf
ENTES | EPM-04/04C/04CS | 0 |  | MULTIMETER |  | http://www.produktinfo.conrad.com/datenblaetter/125000-149999/128714-an-01-en-ENTES_EPM_04C_DIN_DIGITALMULTIMETER.pdf
ENTES | MPR-SW | admin:<blank> |  | Monitoring & Reporting Software |  | http://tde-instruments.de/images/stories/produkte/MPR-SW2_Software_fuer_Fernueberwachung/entes_mpr-sw2-software-instruction_manual.pdf
eWON | all | adm:adm | 80/tcp | Router | http | http://ewon.biz/sites/default/files/aug-004-0-en-ewon_getting_started.pdf
Falcon | USHA | USHA:admin | 80/tcp | UPS SNMP HTTP AGENT | HTTP | https://dariusfreamon.wordpress.com/2016/01/28/falcon-usha-ups-snmp-http-agent-default-admin-credentials/
General Electric Intelligent Platforms | IC695PNC001 | admin:system | 23/tcp (telnet) or USB | PROFINET Controller | telnet | http://platforma.astor.com.pl/files/getfile/id/6314
General Electric Intelligent Platforms | IC695ECM850 | admin:system | 23/tcp (telnet) or USB | IEC 61850 Client | telnet | http://platforma.astor.com.pl/files/getfile/id/6314, as referenced by http://www.pdfsupply.com/pdfs/gfk-2849.pdf
General Electric Intelligent Platforms | IC695ETM001, IC695CPE305, IC695CPE310, IC695CPE330, IC698ETM001, IC698CPE010, IC698CPE020, IC698CRE020, IC698CPE030, IC698CPE040, IC698CRE030, IC698CRE040 | system | 18245/udp | Ethernet module/programmable controller |  | http://platforma.astor.com.pl/files/getfile/id/7823
General Electric Intelligent Platforms | IC698CPE030, IC698CPE040, IC698CRE030, IC698CRE040 | user:system | 21/tcp | Programmable controller with built-in web server | ftp | http://platforma.astor.com.pl/files/getfile/id/9043
General Electric Healthcare | FASTlab Synthesizer | Admin:admin |  | synthesizer |  | https://dariusfreamon.wordpress.com/2015/07/12/ge-healthcare-fastlab-synthesizer-default-credentials/
General Electric Healthcare | TRACERlab FX2 devices (model C, MeI and N) | admin:tracerlab (physical access required) |  | Synthesis module |  | https://dariusfreamon.wordpress.com/2015/07/12/ge-healthcare-tracerlab-fx2-default-admin-credentials/
General Electric Healthcare | TRACERlab FX2 M | tracerlab:tracerlab (for remote access), admin:tracerlab |  | chemistry synthesizer |  | https://dariusfreamon.wordpress.com/2015/07/12/ge-healthcare-tracerlab-fx2-m-multiple-default-credentials/
General Electric Healthcare | HiSpeed CT/i, Lightspeed QX/i | root:#bigguy, ctuser:4$apps |  | Computed Tomography Scanner |  | https://dariusfreamon.wordpress.com/2014/09/04/ge-medical-systems-hispeed-cti-system-multiple-default-accounts/
General Electric Healthcare | Discovery CT590 RT, Optima CT580 | root:#bigguy |  | Computed Tomography Scanner |  | https://dariusfreamon.wordpress.com/2014/09/04/ge-medical-systems-hispeed-cti-system-multiple-default-accounts/
General Electric Healthcare | Datex-Ohmeda Engstr枚m Ventilator | 23-17-21 (Super User), 34-22-14 (service-level) |  | Carestation Ventilators |  | http://static.medonecapital.com/manuals/techManuals/Datex-Ohmeda-Engstrom-VentilatorTechnical-Manual.pdf
General Electric Digital Energy | SNMP/Web Interface | GE:GE (Telnet, HTTP), public (SNMP community string) | 23/tcp, 80/tcp, 25/tcp | SNMP/Web Interface | Telnet, HTTP, SNMP | http://www.lenz.pl/files/product/17678774a663fb06a1068b6cc0342292.pdf
General Electric | SymDec 4, WebServer, SymNav | Software: admin:admin, 12345 (Log In Password), Hardware: 0000 (Advanced Menu Password), 8111 (Factory Password), 1111 (Ethernet Access Reset Password), 2222 (DDNS Password) | 80/tcp | Video Streaming Recorder | HTTP | http://static.interlogix.com/library/0150-0304c_symdec_4_uman.pdf
Heatmiser | Netmonitor | admin:admin | 80/tcp | gateway between the outside world and heating system | HTTP | http://www.thefloorheatingwarehouse.co.uk/acatalog/netmonitor_user_v3.pdf
Helmholz Systeme | NETLink PRO HW 1-1a-1 and FW 1. 54 and higher | NETLink PRO PoE:admin |  | Ethernet Gateway for MPI/PROFIBUS | HTTP | https://www.helmholz.com/dnl/NETLink_PRO_PoE_QSG_v2_en.pdf
Hirschmann | RS20/RS30, MICE | user:public, admin:private | 80/tcp | Switch | http | http://www.wwsinternational.com.au/Hirschmann/pdf/quickstart.pdf;, Hirschmann MICE.pdf
Hirschmann | RSP 20/25/30/35 | user:public, admin:private | 23/tcp (telnet) | Industrial router | telnet | http://www.prosoft.ru/cms/f/456864.pdf
Hirschmann | MACH 4000 Family/MACH 1000 Family/MACH 100 Family/MACH 4002 Family/MACH104 Family Full Gigabit/MACH 1040 Family Full Gigabit | user:public, admin:private |  | Industrial router |  | Hirschmann MACH1040 Full Gigabit.pdf, Hirschmann MACH4002 Family.pdf, Hirschmann MACH1000 Family.pdf, Hirschmann MACH4000 Family.pdf, http://www.industrialcomms.co.uk/images/pdf/IG_MACH104_02_1210_en.pdf, http://www.industrialcomms.co.uk/images/pdf/IG_MACH100_03_0709_en.pdf
Hirschmann | OCTOPUS 8M..., OCTOPUS 16M..., OCTOPUS 24MüΒ,user:public | admin:private" | 23/tcp | Industrial router | telnet | https://www.neteon.net/media/downloads/IG_Octopus8M16M24M_PoETrain_02_0708_en_1.pdf
Hirschmann | EAGLE 20 | admin:private, user:public | 443/tcp | Industrial ETHERNET Firewall | HTTPS | https://dariusfreamon.wordpress.com/2013/09/05/hirschmann-automation-and-control-eagle-20-defaults/
Hitachi | EUB-550 | Service Tools:SERVICETOOL |  | Ultrasound Diagnostic Scanner |  | https://dariusfreamon.wordpress.com/2014/08/25/hitachi-eub-5500-ultrasound-diagnostic-scanner-default-password/
Hitachi | Web Controller | admin:1111 | 80/tcp | controller | HTTP | http://www.fhpsa.com/01_Biblioteca/03_Manuales/EH-W_NJI441E(X).pdf
HollySys Automation Technologies | LK SERIES PLC | FTP blank, Telnet blank | 21/tcp, 23/tcp | PLC | FTP, Telnet | http://plcscan.org/blog/2014/12/hollysys-lk-series-plc-system-default-password-vulnerability/
Honeywell | Honeywell XL | Guest:guest, SysAdmin:honey | 80/tcp | Controller | HTTP
Honeywell | Alerton BCM-WEB | pass |  | BACtalk control module, Web server and Configurator CD |  | https://dariusfreamon.wordpress.com/2015/05/01/honeywell-alerton-bcm-web-default-admin-credentials/
Honeywell | NetAXS | admin:admin | 443/tcp | access control unit | HTTPS | https://www.honeywellaccess.com/documents/UserManual_for_Release_3-800-04410-A.pdf
IBM | 2210 | def:trade |  | Multiprotocol Router |  | http://www.governmentsecurity.org/_/articles/default-logins-and-passwords-for-networked-devices.html
Kostal Solar | PIKO-Inverter 3.0, 3.6, 4.2, 5.5, 7.0, 8.3, 10.1, PIKO BA Storage System | pvserver:pvwr | 80/tcp | solar inverter, storage system | HTTP | http://www.kostal-solar-electric.com/Standalone/MediaDispositionViewer.aspx?medid=7a7356e144fd48b0b8557c4249cb35fd, https://dariusfreamon.wordpress.com/2014/01/15/kostal-solar-piko-ba-storage-system-web-interface-default-admin-credentials/
Lantronix | EDS-MD 4, EDS-MD 8, EDS-MD 16 | admin:PASS | 80/tcp | Medical Device Server | HTTP | https://dariusfreamon.wordpress.com/2015/07/11/lantronix-eds-md-medical-device-server-web-interface-default-admin-credentials/
LOYTEC Electronics | L-DALI DALI Light Controller, L-INX Automation Server, L-GATE Universal Gateway, L-IP CEA-709/IP Router, L-VIS, LIOB-10x I/O Module, LIOB-x5x I/O Module, LIP-ME20X L-IP BACnet Router, LWEB-802, LWEB-803, LWEB-900 Building Management System | admin:loytec4u | 80/tcp | Multiple Devices | HTTP | https://dariusfreamon.wordpress.com/2016/02/01/loytec-electronics-multiple-devices-web-interface-default-admin-credentials/
LOYTEC Electronics | L-Proxy CEA-709 Gateway | admin:admin | 80/tcp | Gateway | HTTP | https://dariusfreamon.wordpress.com/2016/02/01/loytec-electronics-multiple-devices-web-interface-default-admin-credentials/
Metrobility | NetBeacon Element Management Software | guest:guest, admin:admin, root:root | 23/tcp | HMI Software | Telnet | https://dariusfreamon.wordpress.com/2014/09/02/netbeacon-element-management-software-multiple-default-credentials/
Mitsubishi | PLC QnUCPU QnUDVCPU | MELSEC:MELSEC | 21/tcp | PLC | FTP, HTTP | http://dl.mitsubishielectric.com/dl/fa/document/manual/plc/sh080811eng/sh080811engp.pdf
Mitsubishi | PLC QnUCPU QnUDE(H)CPU | QNUDECPU:QNUDECPU | 21/tcp | PLC | FTP, HTTP | http://dl.mitsubishielectric.com/dl/fa/document/manual/plc/sh080811eng/sh080811engp.pdf
Mitsubishi | MES3-255C-EN | ecoV:ecopass, guest:user |  | Web server |  | https://dariusfreamon.wordpress.com/2014/02/28/mitsubishi-energy-saving-data-collecting-server-ecowebserver-iii-mes3-255c-en-default-credentials/
Moxa | AirWorks AWK-3131-RCC | admin:root | 80/tcp | Industrial 802.11n wireless AP/bridge/client | HTTP | http://www.moxa.com/doc/man/AWK-3131-RCC_UM_1e.pdf
Moxa | Railway Remote I/O (ioLogik E12xx, ioLogik E15xx) | HTTP on Port 9020: 1)none:root, 2)none:none | 9020/tcp | Remote Ethernet I/O | HTTP | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Moxa | Cellular Micro RTU Controller (ioLogik W53xx, ioLogik) | administrator:blank, Telnet on port 9900 / 9000: root:root | 9900/9000/tcp | micro RTU controller | telnet or serial console | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Moxa | VPort 461 Industrial Video Encoder | admin:admin, <none>:<none> |  | Industrial Video Encoder | telnet | http://www.moxa.com/doc/man/VPort_461_UM_2e.pdf
Moxa | IA240/241 Embedded computer | telnet root:root, FTP root:blank, PPP root:root, serial console root:root |  | Embedded computers are designed for industrial, automation applications | Telnet, FTP, PPP, serial console | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Moxa | OnCell Central Manager | admin:admin | 8080/tcp | Software | HTTP | http://www.moxa.ru/files/manuals_modems/oncell_central_manager_users_manual_v1.pdf
Moxa | EDS-508A/505A Series | admin:<none> |  | Switch | telnet or serial console | http://www.moxa.com/doc/man/eds-508a_505a_um_4e.pdf
Moxa | OnCell G3100 Series | HTTP admin:admin, HTTP Admin:Keep <blank>, PAP admin:<blank> | 80/tcp | cellular IP gateways | Telnet, PAP | http://www.moxa.com/doc/man/OnCell_G3100_Series_Users_Manual_v7.pdf
Netcomm Wireless | 3G21WB (BigPond Firmware), 3G9WB (BigPond Firmware), N3G001W (Netcomm Firmware), NB14WN (Netcomm Firmware), NB5 (Netcomm Firmware), NB5Plus4 (Netcomm Firmware), NB6Plus4 (Netcomm Firmware), NB6Plus4W (Netcomm Firmware), NNB7 (Netcomm Firmware), NB9WMAXX (Netcomm Firmware), NP804N (Netcomm Firmware) | admin:admin |  | Router |  | http://www.pcwintech.com/default-router-modem-passwords2
Netcomm Wireless | NB1300 Plus 4 (Netcomm Firmware), NP803N (Netcomm Firmware) | admin:password |  | Router |  | http://www.pcwintech.com/default-router-modem-passwords2
NOVUS AUTOMATION | SuperView | superview:superview |  | SCADA |  | http://www.novusautomation.com/downloads/Arquivos/v29x_a_manual_superview_english.pdf
NOVUS Automation | AirGate-3G | admin:admin |  | Dual SIM Industrial Cellular VPN Router |  | https://dariusfreamon.wordpress.com/2016/02/02/novus-airgate-3g-dual-sim-industrial-cellular-vpn-router-default-admin-credentials/
NOVUS Automation | N1040, N480D, N960, N1020, N1040i, N1540, N2000, N3000 and N120 | 1111 (ACESS PASSWORD), 9 3 2 1 (MASTER PASSWORD) |  | Temperature Controller |  | https://dariusfreamon.wordpress.com/2015/04/18/novus-n1040-controller/
Nuance | Dragon Medical 360 Network Edition | admin:password | 80/tcp | Medical Speech Recognition Software Solutions | HTTP | https://dariusfreamon.wordpress.com/2015/07/11/dragon-medical-360-network-edition-nuance-management-console-default-admin-credentials/
Omron IA | CJ1M CPU Units with Ethernet Functions | for http: ETHERNET, for ftp: CONFIDENTIAL | 80/tcp (http), 21/tcp (ftp) | PLC | http, ftp | http://omronkft.hu/nostree/pdfs/plc/cs1_cj1/w441-e1-03+cj-series-ethernetfunc+opermanual.pdf
Omron | NS-Series Programmable Terminals Web Interface (NS12-TS01-V2, NS10-TV01-V2, NS8-TV01-V2, NS5-SQ11-V2, NS5-TQ11-V2 and NS5-MQ11-V2) | default:default | 80/tcp | Programmable Terminals | HTTP | http://www.omronkft.hu/nostree/pdfs/ns/v100-e1-01.pdf
Ouman | EH-net server | admin:admin |  | HMI Software |  | http://docplayer.fi/509891-Palvelin-eh-net-kayttoonotto-ja-yllapito-www-ouman-fi.html
Phasefale Controls | JouleTemp | admin:pass | 80/tcp | PLC | HTTP | http://phasefale.com.au/wp-content/themes/twentythirteen/docs/JouleRange/JouleTemp/jt_instruction_iss8.pdf
Phoenix Contact | Logic+ | admin:admin | 80/tcp | Software | http | https://www.phoenixcontact.com/assets/downloads_ed/global/web_dwl_technical_info/52005213_EN.pdf
PIPS Technology | AUTOPLATE | <blank> (Telnet), wl_test:wl_test, vesstore:vesstore, ftp_boot:ftp_boot (FTP) | 23/tcp, 21/tcp | license plate recognition system | Telnet, FTP | https://dariusfreamon.wordpress.com/2014/02/19/pips-technology-autoplate-automatic-license-plate-recognition-alpr-multiple-vulnerabilities/
Prosoft Technology | ICX30-HWC | admin:password | 80/tcp | Industrial Cellular Gateway | HTTP | http://www.prosoft-technology.com/content/download/8772/168219/version/9/file/ICX30_HWC_User_Manual.pdf
Rockwell Automation / Allen-Bradley | 1756-EN2TSC | Administrator:admin | 80/tcp | EtherNet/IP communication module | HTTP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/enet-um003_-en-p.pdf
Rockwell Automation / Allen-Bradley | 1734-AENT | admin:password | 80/tcp | I/O Adapter | HTTP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/1734-um011_-en-p.pdf
Rockwell Automation / Allen-Bradley | 1756-EWEB, 1768-EWEB | Administrator:<none> | 80/tcp | Web Server Module | HTTP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/enet-um527_-en-p.pdf
Rockwell Automation / Allen-Bradley | 9300-RADES | HTTP: blank:ZYPCOM, Telnet: blank:ZYPCOM, FTP: uploader:ZYPCOM, CHAP/PAP: ppp_user:ZYPCOM | 80/tcp, 23/tcp, 21/tcp | Industrial Modem | HTTP, Telnet, FTP, CHAP/PAP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/gmsc10-um004_-en-e.pdf
Rockwell Automation / Allen-Bradley | 9300-8EDM | HTTP: blank:ZYPCOM, Telnet: blank:ZYPCOM, FTP: uploader:ZYPCOM | 80/tcp, 23/tcp, 21/tcp | Industrial Switch | HTTP, Telnet, FTP | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/gmsc10-um003_-en-e.pdf
Rockwell Automation / Allen-Bradley | MicroLogix 1400 / MicroLogix 1100 Embedded Web Server | guest:guest, administrator:ml1400 (MicroLogix 1400), administrator:ml1100 (MicroLogix 1100) | 80/tcp | Web Server | http | http://literature.rockwellautomation.com/idc/groups/literature/documents/um/1766-um002_-en-p.pdf, http,http://literature.rockwellautomation.com/idc/groups/literature/documents/um/1763-um002_-en-p.pdf
Rockwell Automation / Allen-Bradley | PanelView Plus 6 Graphic Terminals, Firmware 6.10 or later/, PVPlus 6 | password |  | SCADA | Desktop access | http://www.manualsdir.com/manuals/580848/rockwell-automation-2711p-xxxx-panelview-plus-6-terminals-user-manual.html?page=54
SAMSON GROUP | TROVIS 5590 Web Module | To read data 1111:1111, To change data 4444:4444 |  | Web Module |  | http://www.samsongroup.net/trovis-app/en-tv-page-102.htm
Samsung | Integrated Management System DMS | root:rkwjsdusrnth |  | Data Management Server |  | http://www.tenable.com/plugins/index.php?view=single&id=53878
Samsung | Integrated Management System S-NET mini | DMS Connection: 0000 or 1234 |  | S-NET IMS |  | http://dvmdownload.com/controls/central-control-options/mst-s3w/technical-tip/SNET%20MINI%20MST-S3W%20SETUP_1%2017%202012.pdf
Schneider Electric | PowerLogic Series 800 Power Meter | 0 |  | PLC |  | http://www.powerlogic.com/literature/63230-500-282A1_PM8_Install_Guide.pdf
Schneider Electric | PowerLogic ION7550 / ION7650 / ION8650 Energy and power meter | 0 |  | Energy and power meter |  | http://www2.schneider-electric.com/library/SCHNEIDER_ELECTRIC/SE_LOCAL/APS/209510_35F6/8650_Install_Guide.pdf, http://azzo.com.au/wp-content/uploads/2015/08/ION7550-RTU-UserGuide.pdf
Schneider Electric | PowerLogic Ethernet Gateway EGX300 / EGX100 | Administrator:Gateway | 80/tcp | Integrated gateway-server | http | http://azzo.com.au/wp-content/uploads/2015/05/PowerLogic-EGX300-Users-Guide.pdf
Schneider Electric | POWERLOGIC EGX200 / EGX400 with firmware version 5.5 or higher | Administrator:admin, User 1:master, User 2:engineer, User 3:operator | 80/tcp | gateway-server | http | http://www.powerlogic.com/literature/63230-314-208A3.pdf
Schneider Electric | Modicon Quantum | ftpuser/password, qbf77101/hexakisoctahedron, USER:USER | 21/tcp, 23/tcp, 80/tcp | PLC | HTTP, FTP, Telnet | http://www.digitalbond.com/tools/basecamp/schneider-modicon-quantum/, http://www.schneider-electric.cn/downloads//85257689000007EE/All/01507367599A9DC985257871005F4B3D/$File/EIO0000000121EN.pdf
Schneider Electric | Modicon M340 for Ethernet | ntpupdate:ntpupdate (Using an FTP client, store your rules in the file:, /FLASH0/wwwroot/conf/NTP/customrules), USER:USER (FTP Setup page via HTTP, HTTP credentials), sysdiag:factorycast@schneider (FTP) | 21/tcp, 80/tcp | PLC | FTP, HTTP | https://dariusfreamon.wordpress.com/2013/12/08/schneider-modicon-m340-for-ethernet-multiple-default-credentials/, https://github.com/ITI/ICS-Security-Tools/blob/master/configurations/passwords/ics-default-passwords.csv
Schneider Electric | Modicon Premium | FTP: sysdiag:factorycast@schneider, HTTP: USER:USER | 21/tcp, 80/tcp | PLC | FTP, HTTP | https://github.com/ITI/ICS-Security-Tools/blob/master/configurations/passwords/ics-default-passwords.csv
Schneider Electric | PM8000, PM8240, PM8243, PM8244 | Physical: 0, FTP: 8000:<display password> | 21/tcp, 80/tcp | PLC | FTP, HTTP | http://www2.schneider-electric.com/sites/corporate/en/support/faq/faq_main.page?page=content&country=APS_GLOBAL&lang=en&locale=en_US&id=FA243275&redirect=true
Schneider Electric | TSX ETG 1000 | HTTP Server, PAP Protocol: USER:USER, FTP: wsupgrade:wsupgrade, Serial Connection: Administrator:Gateway | 21 TCP | PLC | FTP, PAP, HTTP | http://www.is-com.ru/files/net_tsxetg1000.pdf
Schneider Electric | ETG100 | Administrator:Gateway |  | PLC |  | http://www.schneider-electric.co.in/sites/india/en/support/faq/main_faq.page?page=content&country=IN&lang=en&id=FA138738&locale=en_US&redirect=true
Schneider Electric | M258 | adm:adm | 80/tcp | PLC | http | http://ewon.biz/sites/default/files/aug-054-0-en-remote_access_for_schneider_m258_plcs.pdf
Schneider Electric | Quantum NOE 771 xx | pcfactory:pcfactory, loader:fwdownload, ntpupdate:ntpupdate, sysdiag:factorycast@schneider, test:testingpw, webserver:webpages, fdrusers:sresurdf, nic2212:poiuypoiuy, nimrohs2212:qwertyqwerty, nip2212:fcsdfcsd, noe77111_v500:RcSyyebczS (password hashed), AUTCSE:RybQRceeSd (password hashed), AUT_CSE:cQdd9debez (password hashed), target:RcQbRbzRyc (password hasshed), FTP and HTTP Service: USER:USERUSER, USER:USER, ftpuser:ftpuser (FTP) | 21/tcp, 80/tcp | Ethernet Modules | ftp, http | https://igate.alamedaelectric.com/Modicon%20Documents/PLC%20Quantum%20PLC%20NOE771xx%20User%20Manual%20v5.0.pdf
Siemens | Simatic S7-300 (pre-2009 versions) | Hardcoded password: Basisk:Basisk | 23/tcp, 80/tcp | PLC | telnet. Http | http://www.wired.com/2011/08/siemens-hardcoded-password/
Siemens | S7-1200 / S7-1500 | admin:blank | 80/tcp | PLC | HTTP | https://www.dmcinfo.com/latest-thinking/blog/id/8567/siemens-s7-1200-web-server-tutorial--from-getting-started-to-html5-user-defined-pages
Siemens | Scalance X-200, W788-1PRO, W788-2PRO, etc. | admin:admin (HTTP), user:user (HTTP), siemens:siemens (FTP) | tcp/80 | Industrial Wireless LAN, Industrial Ethernet Switches | HTTP, FTP | http://dariusfreamon.wordpress.com/2013/10/02/siemens-scalance-x-industrial-ethernet-switches/, https://cache.industry.siemens.com/dl/files/728/25508728/att_4008/v1/BA_SCALANCE-X-200_76.pdf, https://www.acunetix.com/vulnerabilities/network/vulnerability/siemens-scalance-default-credentials/
Siemens | Synco living Web server OZW772 V2.0 | Administrator:Password | 80/tcp | Web-server | HTTP | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Siemens | Siemens WinCC 7.x | winccd:winccpass, wincce:winccpass, DMUser:Data&Pass, Administrator:Administrator |  | HMI Software |  | http://www.toolswatch.org/2013/02/new-scada-default-passwords-added-to-dpe-xml-database/
Siemens | Ruggedcom RMC30 | admin:admin, operator:operator, guest:guest | 80/tcp | Industrial router | HTTP | http://www2.schneider-electric.com/resources/sites/SCHNEIDER_ELECTRIC/content/live/FAQS/239000/FA239168/en_US/ROS_RMC30_User-Guide_EN.pdf
Siemens | RUGGEDCOM ROX II for RX1500, RX1501, RX1510, RX1511, RX1512 | root:admin (service), admin:admin (administrator), oper:oper (operator), guest:guest (guest) |  | Ethernet Switches Layer 3 / Routers |  | https://cache.industry.siemens.com/dl/files/287/81194287/att_837966/v1/ROXII_v2.6_RX1500_User-Guide_CLI_EN.pdf
Siemens | RuggedSwitch RS8000 / RS1600 / RS900 | admin |  | Industrial router | RS232 | http://www.techsalesnw.com/oldwebsite/products/ethernet/rc_files/RuggedSwitch%20User%20Guide%20v1.5.1.pdf
Siemens | Siemens ST950 | root:zP2wxY4uE | 161/udp | Intersection controller | SNMPv3 | http://www.siemens.co.uk/traffic/en/index/productssolutionsservices/signalsandcontrollers/st950.htm
Siemens | Siemens Climatix | Level 6 End users: 1000 (Physical), Level 4 Service operator: 2000 (Physical), Level 2 OEM: 6000 (Physical), Web: ADMIN:SBTAdmin! | 80/tcp | PLC | HTTP | http://www.ivprodukt.se/documents/ivprodukt/documents/styr%20climatix/basis%20document%20climatix%20control%20system%20bdcx.100820.01.gb.pdf
Siemens | Sicam SGU | 642935177 | 80/tcp | RTU | HTTP | http://w3.siemens.com/smartgrid/global/en/products-systems-solutions/substation-automation/remote-terminal-units/Pages/sicam-sgu.aspx
Siemens | Sicam SGU | admin@root:charleM!800 | 9443/tcp | RTU | HTTPS | http://w3.siemens.com/smartgrid/global/en/products-systems-solutions/substation-automation/remote-terminal-units/Pages/sicam-sgu.aspx
Siemens | SC 7000 / SC 9000XL | 4712 (passcode, physical access required) |  | Patient Monitors Service |  | https://dariusfreamon.wordpress.com/2015/07/12/siemens-sc-7000-sc-9000xl-patient-monitors-default-admin-passcode/
Sierra Wireless | AirLink | sconsole:12345 | 12345/tcp, 2332/tcp | 3G/4G gateway | telnet, ssh | official documentation
Sierra Wireless | AirLink | user:12345, viewer:12345 | 9191/tcp | 3G/4G gateway | http | official documentation
Sinapsi | eSolar | admin:admin | 80/tcp | Web-Server for photovoltaic applications | HTTP | http://www.sinapsitech.it/wp-content/uploads/2014/02/Handbook_standard_2.0_en.pdf
SMA Solar Technology | Sunny WebBox | Installer:sma | 80/tcp | ICS device for data logging | HTTP | https://dariusfreamon.wordpress.com/2015/05/02/sunny-webbox-default-password-and-denial-of-service/
Stulz GmbH | Stulz WIB 8000 | Administrator, highest authorization: ganymed, Medium authorization: kallisto, Lowest authorization: europa |  | PLC |  | https://dariusfreamon.wordpress.com/2013/09/07/stulz-wib-8000-air-conditioning-web-interface-board-multiple-vulnerabilities/
TAC AB | TAC Xenta 500/700/911/913, TAC Xenta 511, TAC Xenta 527, | root:root |  | PLC |  | http://www.xref.be/dpdf/tac_xenta911_xenta511_manuel_uk.pdf
Tecomat | Tecomat Foxtrot | 0:0 (role 0) , 1:1 (role 1), 2:2 (role 2), 3:3 (role 3), 4:4 (role 4), 5:5 (role 5), 6:6 (role 6), 7:7 (role 7), 8:8 (role 8), 9:9 (role 9) |  | PLC |  | http://dsec.ru/ipm-research-center/notification-of-vulnerabilities/tecomat_plc_paroli_po_umolchaniyu/
Trafficware | ATMS.now | naztec:naztec |  | Advanced Traffic Management System |  | https://dariusfreamon.wordpress.com/2014/02/20/trafficware-atms-now-default-credentials/
Tridium | NiagaraAX | tridium:niagara |  | Software for JACE-2, JACE-403 or JACE-545 |  | http://www.hvacc.net/pdf/tridium/docs_3.2.16/docJaceStartup/docJaceStartup.pdf
Turck | BL20-E-GW-EN, BL67-E-GW-EN | HTTP: password, FTP: (unspecified hardcoded) | 21/tcp, 80/tcp | PLC | http | http://pdb.turck.de/media/_in/Anlagen/D301173.pdf,http://ics-cert.us-cert.gov/advisories/ICSA-13-136-01
Ubiquiti | AirControl | ubnt:ubnt | 9005/tcp | Web Management Application |  | https://dariusfreamon.wordpress.com/2015/04/16/ubiquiti-aircontrol-web-management-default-admin-credentials/
Ubiquiti | AirOS | ubnt:ubnt | 443/tcp | operation system | HTTPS | http://dl.ubnt.com/guides/airOS/airOS_UG.pdf
Wago | WAGO-I/O-SYSTEM?50 | admin:wago, user:user, guest:guest | 80/tcp | Controller | http | http://www.wago.spb.ru/upload/information_system_28/3/2/8/item_328/information_items_property_340.pdf
Wago | WAGO-I/O-IPC 758-870/000-xxx | http, ftp:, user:user00 , administrator:, su:ko2003wa | 80/tcp (http) | Compact Industrial PC?"http | ftp" | http://www.wago.com/wagoweb/documentation/758/eng_manu/870/q07580870_00000000_2en.pdf
Wago | Modular I/O-System Linux Fieldbus Coupler 750-860 | root:wago , admin:wago, user:user , guest:guest |  | PLC |  | http://www.wago.com/wagoweb/documentation/750/eng_manu/coupler_controller/m07500860_00000000_0en.pdf
WashTec | SoftCare Evo Type SE10 | 00001 (limited access), 00000 (unlimited access) |  | Roll-over car wash system |  | http://www.washtec.com.au/files/tech-data/SoftCare2%20EVO%20Manual.pdf
Wellintech | KingSCADA 3.0 | administrator:administrator (role KVAdministrator) |  | Software |  | http://www.slideshare.net/DefconRussia/pavel-volobuev-alexander-minozhenko-alexander-polyakov-practical-demonstration-of-typical-attacks-and-0days-in-scada-and-plccontrollers
Westermo | TDW 33 | no password, just return, Hardcoded password: n3Y9kA6otYZu8, (?? TD-36) |  | Industrial Modem |  | http://www.etitudela.com/entrenadorcomunicaciones/downloads/modemrtbtdw33manual.pdf
Westermo | MRD-305-DIN/MRD-310/MRD-315/MRD-330/MRD-355/MRD-350/MRD-455 | admin:westermo | 80/tcp | Industrial router | http | http://www.eternity-sales.com/westermo/files/westermo_ug_6623-2266_mrd-305-DIN_en.pdf, Westermo MRD 330.pdf
Westermo | RedFox Series, Wolverine Series, Lynx Series, Falcon Series, Viper Series | admin:westermo | 80/tcp | Industrial router | http | http://www.westermosales.com/pdfs/westermo_mg_6101-3201_weos.pdf
Wonderware | Intouch | Administrator:Wonderware |  | SCADA |  | http://www.automation-talk.info/2011/01/default-intouch-login-username-password.html
Wonderware | Historian | SQL Server Login: aadbo:pwddbo, wwdbo:pwddbo, aaAdmin:pwAdmin, wwAdmin:wwAdmin, aaPower:pwPower, wwPower:wwPower, aaUser:pwUser, wwUser:wwUser |  | SQL Server | SSMS | https://drive.google.com/folderview?id=0B8or_Z9VHNfCeFIwbEY5RUk5SDA&usp=sharing
Wonderware | System Platform/Archestra | administrator:blank |  | Integrated Development Environment |  | https://insource.mindtouch.us/Support_Tickets/Industrial_Application_Server/Installation%2F%2FConfiguration/028076_-_What_is_the_default_Administrator_username_and_password_for_the_Archestra_IDE
Xzeres | 442SR | MyTurbine:m442+SRt |  | small wind turbine |  | https://dariusfreamon.wordpress.com/2015/05/03/xzeres-442s-wind-turbine-web-interface-default-credentials/
Yokogawa | YFGW410 gateway | admin:!admin |  | Wireless Management Station |  | http://www.yokogawa.com/us/support/knowledgebase/i-cannot-login-to-the-yfgw410-gateway-what-is-the-default-username-and-password-of-a-yfgw410-isa100-gateway.htm
Yokogawa | DX1000/DX1000N/DX2000 Advanced | Administrator 1:Admin1, Administrator 2:Admin2, ..., Administrator 5:Admin5, User 1:User01, ..., User 90:User90 |  | Software |  | http://web-material3.yokogawa.com/IM04L41B01-05EN_020.pdf
Yokogawa | CENTUM CS 3000 DCS | CENTUM:CENTUM |  | Distributed Control System |  | http://www.allinterview.com/showanswers/170266/having-yokogawa-centum-cs-3000-dcs-2-fcs-4-operation-download-message-appears-eq.html
Yokogawa | EJX910A Multivariable Transmitter HART Communication Type | YOKOGAWA. (to release the Write Protect mode), |  | Multivariable transmitter |  | http://www.controlswarehouse.com/sheets/meriam/EJX910HARTIM01C25R02-01E_001.pdf
Yokogawa | WT 3000 Driver | anonymous:blank (Ethernet access) |  | Precision Power Analyzer |  | http://www.electro-meters.com/Assets/pdf2_files/Yokogawa/Power_meters/WT3000_pdfs/WT3000%20Communication.pdf
Zoe Medical | Nightingale PPM3 | Set Dial 1 to 49, Set Dial 2 to 48, Set Dial 3 to 46 |  | Vital Sign Monitor With CO2 |  | https://dariusfreamon.wordpress.com/2015/07/11/zoe-medical-nightingale-ppm3-default-passcode/